[image: image18.jpg]E E sl onTrRoL”





Dahua HD IR Vari-focal Bullet Network Camera Quick Start Guide
[image: image19.jpg]



Dahua HD IR Vari-focal Bullet Network Camera Quick Start Guide


Dahua HD IR Vari-Focal Bullet Network Camera Quick Start Guide
Version 1.0.0
 Zhejiang Dahua Vision Technology Co., LTD
Welcome

Thank you for purchasing our Network camera!

This user’s manual is designed to be a reference tool for your system. 

Please read the following safeguard and warnings carefully before you use this series product!
Please keep this user’s manual well for future reference!
Important Safeguards and Warnings 

1．Electrical safety

· All installation and operation here should conform to your local electrical safety codes. 

· Please check if the power supply is correct before operating the device. 
· The power shall conform to the requirement in the SELV (Safety Extra Low Voltage) and the Limited power source is rated DC 12V or AC 24V in the IEC60950-1. (Power supply requirement is subject to the device label).  

· Please install easy-to-use device for power off before installing wiring, which is for emergent power off when necessary. 
· Please prevent the line cord from being trampled or pressed, especially the plug, power socket and the junction from the device. 
· Note: Do not connect these two power supplying sources to the device at the same time; it may result in device damage!

· We assume no liability or responsibility for all the fires or electrical shock caused by improper handling or installation. 

· We are not liable for any problems caused by unauthorized modification or attempted repair.

2．Environment

· Please don’t aim the device at strong light (such as lighting, sunlight and so on) to focus; otherwise it may cause overexposure (It is not the device malfunction), which will affect the longevity of CCD or CMOS.
· Please transport, use and store the device within the range of allowed humidity and temperature. 
· Please don’t keep the device in a place which is wet, dusty, extremely hot, and extremely cold and with strong electromagnetic radiation or unstable lighting. 
· Please do not allow water and other liquid falling into the camera in case that the internal components are damaged. 
· Please do not allow rain or damp to the indoor device in case fire or lightning may occur. 
· Please keep the sound ventilation in case of heat accumulation.
· Please pack the device with standard factory packaging or material with same quality when transporting the device. 
· Heavy stress, violent vibration or water splash are not allowed during transportation, storage and installation.

3. Operation and Daily Maintenance 
· Please do not touch the heat dissipation component of the device directly in order to avoid scald. 
· Please do not dismantle the device; there is no component which can be fixed by users themselves in the machine. It may cause water leakage or bad image for the device due to unprofessional dismantling. Please contact after-sale service to replace desiccant if it becomes green.
· It is recommended to use the device with thunder proof device in order to improve thunder proof effect. 
· The grounding holes of the product are recommended to be grounded to further enhance the reliability of the camera.

· Do not touch the CCD (CMOS) optic component directly. You can use the blower to clean the dust or dirt on the lens surface. Please use a dry cloth wetted by alcohol to wipe away the dust gently if it is necessary to clean. 
· Always use the dry soft cloth to clean the device.  If there is too much dust, please use the water to dilute the mild detergent first and then use it to clean the device. Finally use the dry cloth to clean the device. Don’t use volatile solvent like alcohol, benzene, thinner and etc or strong detergent with abrasiveness, otherwise it will damage the surface coating or reduce the working performance of the device.
· Dome cover is an optical device, please don’t touch or wipe cover surface directly during installation and use, please refer to the following methods to deal with once dirt is found: 
· Stained with dirt
· Use oil-free soft brush or hair dries to remove it gently. 
· Stained with grease or fingerprint 
· Use soft cloth to wipe the water drop or oil gently to make it dry, then use oil-free cotton cloth or paper soaked with alcohol or detergent to wipe from the lens center to outward. It is ok to change the cloth and wipe several times if it is not clean enough. 
Warning
· Please modify the default password after login in order to avoid being stolen.
· Please use the standard accessories provided by manufacturer and make sure the device is installed and fixed by professional engineers. 
· Please prevent the device surface from the radiation of laser beam when using laser beam device. 
· Please do not provide two or more power supply modes for the device, otherwise it may cause damage to the device. 
Statement 
· Please refer to the actual product for more details; the manual is just for reference. 
· The manual will be regularly upgraded according to the product update; the upgraded content will be added in the manual without prior announcement. 
· Please contact the supplier or customer service if there is any problem occurred when using the device.
· Please contact the customer service for the latest procedure and supplementary documentation. 
· There may be deviation between the actual value of some data and the value provided in the manual due to the reasons such as the real environment is not stable and so on. Please refer to the company’s final explanation if there is any doubt or dispute. 
· The company is not liable for any loss caused by the operation which is not followed by the manual. 

FCC Information 

1. FCC conditions：

This device complies with part 15 of the FCC Rules. Operation is subject to the following two conditions:

· This device may not cause harmful interference;

· This device must accept any interference received, including interference that may cause undesired operation.

2. FCC compliance：

This equipment has been tested and found to comply with the limits for a digital device, pursuant to part 15 of the FCC Rules. These limits are designed to provide reasonable protection against harmful interference. This equipment generates uses and can radiate radio frequency energy and, if not installed and used in accordance with the instruction manual, may cause harmful interference to radio communication. However, there is no guarantee that interference will not occur in a particular installation. If this equipment does cause harmful interference to radio or television reception, which can be determined by turning the equipment off and on, the user is encouraged to try to correct the interference by one or more of the following measures:

· Reorient or relocate the receiving antenna.

· Increase the separation between the equipment and receiver.

· Connect the equipment into an outlet on a circuit different from that to which the receiver is connected.

· Consult the dealer or an experienced radio/TV technician for help.

Note: 
Please refer to the disk for more details, check and download corresponding user’s manual and tool.
Before installation, please open the package and check all the components are included.

Contact your local retailer ASAP if something is broken in your package.

	Accessory Name
	Amount

	Network Camera Unit 
	1

	Quick Start Guide 
	1

	Installation Accessory Bag
	1

	CD
	1


Table of Contents 

11
Framework


11.1
Device External Cable


21.2
Framework and Dimension


31.3
Bidirectional Talk


41.4
Alarm Setup


72
Device Installation


113
Network Configuration


113.1
Modify IP Address


133.2
Login WEB Interface





1 Framework 
1.1 Device External Cable 
Note: 

· The following figures are for reference only, which are used to know the functions of cable port. 

· The cable structure may be different according to different devices, please refer to the actual device for more details. 

You can refer to the following figure for device external cable information. See Figure 1‑1 and Figure 1-2.

[image: image1.png]



Figure 1‑1 
Please refer to sheet 1-1 for detailed information.
	SN
	Port
	Port Name
	Connection
	Note

	1
	LAN
	Network port 
	Ethernet port
	Connect to standard Ethernet cable. 

	2
	DC 12V
	Power input port
	-
	Power port. Input DC 12V.


Sheet 1-1

[image: image2.jpg]



Figure 1-2 
Please refer to sheet 1-2 for more details. 
	SN
	Port Name
	Note

	1
	Power input port
	Power port. Input DC 12V.

	2
	I/O port 
	Alarm signal input/output 

	3
	Network port
	Connect to standard Ethernet cable. 

	4
	Audio input port 
	Input audio signal, receive analog audio signal from sound pick-up and so on. 

	5
	Audio output port 
	Output audio signal to speakers and so on. 


Sheet 1-2
1.2 Framework and Dimension

Please refer to the following figure for dimension information. The unit is mm. See Figure 1‑3 and Figure 1‑4.

[image: image3.png]



Figure 1‑3 Dimension illustration 1
[image: image4.png]/*‘
@





Figure 1‑4 Dimension illustration 2
1.3 Bidirectional Talk 

Note: 
Some products do not support bidirectional talk, which cannot be applied to this chapter. 
Step 1 

Connect the speaker or the MIC to the audio input port of the device and PC; connect the earphone to the audio output port of the device and PC respectively.

Step 2 

Log in the device WEB interface, click “Talk” button to enable bidirectional talk. You can see the button becomes orange after you enabled the audio talk function. Click “Talk” button again to stop the bidirectional talk function.  
Step 3 

Input audio to speaker or MIC on the device end and PC respectively, and receive the audio via earphone on the device end and PC. 

1.4 Alarm Setup 

Note:

It is only supported by some series products. 

[image: image5.jpg]@hua

Camera
Network
Event

> Video et
> Abnom:
storage
system
Information

Relay Activation

I Enable

Relay-in

Working Period

Anti-Dither

 Record
Record Delay

¥ Relay-out
Alam Delay

I send Email

I snapshot

Alam

Second(0~100)

Second(10~300)

Second(10~300)

Default

Reffesh

Sensor Type





Figure 1-5
Alarm input, output description: 

Step 1     Connect alarm input device to the alarm input of I/O cable.

Step 2     Connect alarm output device to the alarm output of I/O cable, alarm output is collector open circuit output which connects 10K resistor to 3.3V externally.

Step 3      Open the Web, set alarm input and output correspondingly. Alarm input on WEB corresponds to I/O cable on device. When there is alarm, alarm input device will generate signal of high and low level. Set corresponding NO and NC inputs.

Step 4    Set the WEB alarm output. The alarm output is for the alarm output port of the device. It is the alarm output port of the I/O cable.
Please refer to the following figure for alarm input information. See Figure 1-6.

Alarm input: When the input signal is idle or grounded, the device can collect the different statuses of the alarm input port. When the input signal is connected to 3.3V or it is idle, the device collects the logic “1”. When the input signal is grounded, the device collects the logic “0”.

[image: image6.png]Alarm Input

IPC

Collecting

GND





Figure 1‑6
Please refer to the following figure for alarm output information. See Figure 1‑7 and Figure 1-8. 

[image: image7.jpg]External Device

Network Camera

A




Figure 1‑7
[image: image8.jpg]+5V, Network Camera

B




Figure 1-8 

Mode A: Level application. Alarm output high and low level, alarm output is OC; it needs to increase pull-up resistance externally to work normally. Max external pull-up level is 5V, max port current is 5mA. After external pull-up resistance is increased, the default of output signal is high level (external pull-up voltage), and it switches to low level when there is alarm output (when the working current is 5mA, output voltage is less than 0.8V). 

Mode B: Switch application. Alarm output is used to drive external circuit, max current is 30mA, max voltage is 5V, it is advised to add a relay if it is beyond the value.

2 Device Installation 

Note:

· Please make sure the installation surface can min support the 3X weight of the camera and the bracket. 
· Please cut off the device power before installing Micro SD card; please operate after turning off the device. 
· The following figures are for reference only; please refer to the actual device for more details. 

[image: image9.jpg]Wall or Ceiling

Expansion Bolt

ST4. 2 screw





Figure 2‑1 
Step 1
Install Micro SD card

Note: 

It needs to implement this step when the device is equipped with Micro SD card slot and it needs to use Micro SD card. 

Open the lower cover, find the Micro SD card slot shown in Figure 2-2, adjust the direction of Micro SD card, insert it into the slot and install it well. Install the lower cover back to the device after installation is completed. 
[image: image10.jpg]



Figure 2-2
Step 2 

Fix the device on the installation surface.

1. Take out the installation position map from the accessories bag, paste it on the installation surface (wall or ceiling) and dig holes according to the hole sites marked on the installation position map. 

2. Take out the expansion bolts from the accessories bag and insert them into the holes you just dug. 

3. Take out the self-tapping screws from the accessories bag, aim the installation holes of the device bracket chassis at the expansion bolt and use the self-tapping screws to fix the device on the installation surface (wall or ceiling).

Step 3 

Plug the external cable of the device well according to the requirement. 
Step 4 

Adjust device angle. 

[image: image11.jpg]



Figure 2-3
1. Use the inner hex screwdriver to loosen the adjusting screws shown in the figure above. 

2. Adjust the device UDLR, set the device monitoring direction according to use requirements.

3. Use inner hex screwdriver to tighten the adjusting screws firmly. 

Step 5 

Adjust focal length of the device. 

Note: 

It needs to implement the step when the device is equipped with lower cover and it needs to adjust focal length of the lens. 

[image: image12.jpg]Lens Focus Lever

Lower Cover

M2. 5 x 6 PanHead Screw





Figure 2-4
1. Use crosshead screwdriver to loosen the pan head screws shown in the figure above and take down the lower cover.
2. Adjust lens focus lever, precisely locate the device monitoring direction via external focusing. 

3. Use crosshead screwdriver to tighten the pan head screw firmly. 

Step 6 

Waterproof connector installation for network port; see Figure 2-5 for more details. 
Note: 
Please implement this step if the device is equipped with network port waterproof connector and it is used outdoors. 
[image: image13.jpg]RubberRing ~ Waterproof

Conne(to/r/
‘ 4

Crystal Head

Network Port —

Fixing Rubber Ring

Waterproof Locking
Fixing Cover




Figure 2-5
1. Keep the convex groove outward and install the rubber ring into the network port, keep the smaller hole of the rubber ring outward and install the fixing rubber ring into the main body of the waterproof connector. 
2. Pull the network cable without crystal head through main body of waterproof connector, fixing rubber ring and waterproof locking cover, make the crystal head of network cable, and then insert it into the network cable. 
3. Put the main body of waterproof connector on the network port and rotate it clockwise to lock the network port and waterproof connector firmly. 
4. Put the waterproof locking cover on the main body of waterproof connector and rotate it clockwise to lock the waterproof connector and waterproof locking cover firmly. 
3 Network Configuration 

The IP address of all the cameras is the same when leaving factory (default IP192.168.1.108), in order to make the camera get access to the network smoothly, please plan the useable IP segment reasonably according to the actual network environment. 

3.1 Modify IP Address 

IP address can be acquired and modified through quick configuration tool for the cameras which are accessed via wired network, it needs to connect wired network to configure wireless parameters before using wireless network cameras. In this chapter, it will introduce the approach of modifying IP address via “Quick Configuration Tool”; also you can modify the IP address in the network parameters of the WEB interface, please refer to the document in the disk << WEB Operation Manual>> for more details. 

Note: 

Currently the quick configuration tool only supports the cameras which apply to the same network segment with computer IP address. 

Step 1 Double click the “ConfigTools.exe” and open the quick configuration tool.

Step 2 Double click the device to be configured, the system will pop out the “Login” dialog box. Enter the IP address, user name, password and port number of the camera, and click “Confirm”.

Note: 

The default user name and password are admin and admin respectively, the default of port is

37777.  See Figure 3-1 for more details. 

[image: image14.jpg]'
X

QConf'gtool

(Qpetiesn)  (Gogin ) ( semng ) (Upsrade ) Find numberof devices: 34 | e | % Q

Subnet Mask

Gateway.

AE 1m26 s |mssasso0  |mason wossana | # @

s 722025 a0 |msass00  |mmsor  |soozesaronsa | 3 ©
s [@rone  Jieaseny w AT
e 2228 asiceen | 3 ©
s @ 1722025, adoress | 1722023 )
s 1722927 e basrcrias we
@ 224 e LU rasavaras | 3% ©
I 1722024 I E—— pasareszs | 45 ©
0 (@ 122925 e hsssavers | % ©
1 |@ e 1722023 ok ) (cancer ) b2:a9:05:40:38 *e
2 (@ 222 Sasaoa | 4 @
5 (@ 223 i |msassoo  |masor  |ovazaeserssa ne
P 1267 s |msasse0  |mmsen  |woasezmm | 4 ©
5 (@ m2280 s |msasso0 |mamor  |sozesmoer2 | 3% @
e mm28 s |msasso0  |mam01  |wozessazess | B ©
v (@ 292102 s |assasoo  |masos  |soassavere | %6 @





Figure 3-1 

Step 3 Modify the camera IP address on the “Net” interface, click “Save” to finish modification. 

See Figure 3-2 for more details. 

[image: image15.png]1P Version

1P Address

153

HrTP

upp.

17220234

1722001

2002:29:42:08:61

st

s77E

(1025 ~65532)





Figure 3-2 

3.2 Login WEB Interface 

Note: 

Different devices may have different WEB interfaces, the figures below are just for reference, please refer to the document <<WEB Operation Manual>> in the disk and the actual interface for more details

Step 1 Open IE and input the modified camera IP address in the address bar. 

Step 2 The login interface is shown below, please input your user name and password (Default user name is admin and password is admin respectively), click “login”.

See Figure 3-3 for more details. 

[image: image16.png]m

Usemame: | admin

Password:





Figure 3‑3 
Step 3 Install controls according to the system prompt; see Figure 3-4 for the WEB main interface. Please modify the administrator password as soon as possible after you successfully logged in. 
[image: image17.jpg]@hua





Figure 3‑4 
Note:

· This quick start guide is for reference only. Slight difference may be found in user interface.

· All the designs and software here are subject to change without prior written notice. 
· If there is any uncertainty or controversy, please refer to the final explanation of us.
· Please visit our website or contact your local service engineer for more information.

·  All trademarks and registered trademarks mentioned are the properties of their respective owners.
[image: image20.jpg]alhua




Zhejiang Dahua Vision Technology Co., Ltd

Address：No.1199 Bin’an Road, Binjiang District, Hangzhou, PRC.

Postcode: 310053

Tel: +86-571-87688883

Fax: +86-571-87688815

Email:overseas@dahuatech.com

Website: www.dahuasecurity.com
PAGE  
iv

