[image: image14.jpg]E E sl onTrRoL”





Dahua HD IR Waterproof Eyeball Network Camera Quick Start Guide
[image: image15.jpg]



Dahua HD IR Waterproof Eyeball Network Camera Quick Start Guide


Dahua HD IR Waterproof Eyeball Network Camera 
Quick Start Guide 
Version 1.0.0
Zhejiang Dahua Vision Technology Co., LTD
Welcome

Thank you for purchasing our Network camera!

This user’s manual is designed to be a reference tool for your system. 

Please read the following safeguard and warnings carefully before you use this series product!

Please keep this user’s manual well for future reference!

Important Safeguards and Warnings 

1．Electrical safety

All installation and operation here should conform to your local electrical safety codes. 
Please check if the power supply is correct before operating the device. 
The power shall conform to the requirement in the SELV (Safety Extra Low Voltage) and the Limited power source is rated 12V DC, DC5V or AC24V in the IEC60950-1. (Power supply requirement is subject to the device label).  
Please install easy-to-use device for power off before installing wiring, which is for emergent power off when necessary. 

Please prevent the line cord from being trampled or pressed, especially the plug, power socket and the junction from the device. 
Note: Do not connect these two power supplying sources to the device at the same time; it may result in device damage!

We assume no liability or responsibility for all the fires or electrical shock caused by improper handling or installation. 

We are not liable for any problems caused by unauthorized modification or attempted repair.
2．Environment

Please don’t aim the device at strong light (such as lighting, sunlight and so on) to focus; otherwise it may cause overexposure (It is not the device malfunction), which will affect the longevity of CCD or CMOS.

Please transport, use and store the device within the range of allowed humidity and temperature. 

Please don’t keep the device in a place which is wet, dusty, extremely hot, and extremely cold and with strong electromagnetic radiation or unstable lighting. 

Please do not allow water and other liquid falling into the camera in case that the internal components are damaged. 
Please do not allow rain or damp to the indoor device in case fire or lightning may occur. 

Please keep the sound ventilation in case of heat accumulation.

Please pack the device with standard factory packaging or material with same quality when transporting the device. 
Heavy stress, violent vibration or water splash are not allowed during transportation, storage and installation.

3. Operation and Daily Maintenance 

Please do not touch the heat dissipation component of the device directly in order to avoid scald. 

Please do not dismantle the device; there is no component which can be fixed by users themselves in the machine. It may cause water leakage or bad image for the device due to unprofessional dismantling.

It is recommended to use the device with thunder proof device in order to improve thunder proof effect. 

The grounding holes of the product are recommended to be grounded to further enhance the reliability of the camera.

Do not touch the CCD (CMOS) optic component directly. You can use the blower to clean the dust or dirt on the lens surface. Please use a dry cloth wetted by alcohol to wipe away the dust gently if it is necessary to clean. 
Always use the dry soft cloth to clean the device.  If there is too much dust, please use the water to dilute the mild detergent first and then use it to clean the device. Finally use the dry cloth to clean the device. Don’t use volatile solvent like alcohol, benzene, thinner and etc or strong detergent with abrasiveness, otherwise it will damage the surface coating or reduce the working performance of the device.
Dome cover is an optical device, please don’t touch or wipe cover surface directly during installation and use, please refer to the following methods to deal with once dirt is found: 

Stained with dirt

Use oil-free soft brush or hair dries to remove it gently. 

Stained with grease or fingerprint 

Use soft cloth to wipe the water drop or oil gently to make it dry, then use oil-free cotton cloth or paper soaked with alcohol or detergent to wipe from the lens center to outward. It is ok to change the cloth and wipe several times if it is not clean enough. 

Warning

Please use the standard accessories provided by manufacturer and make sure the device is installed and fixed by professional engineers. 

Please prevent the device surface from the radiation of laser beam when using laser beam device. 

Please do not provide two or more power supply modes for the device, otherwise it may cause damage to the device. 

Statement 

Please refer to the actual product for more details; the manual is just for reference. 

The manual will be regularly upgraded according to the product update; the upgraded content will be added in the manual without prior announcement. 

Please contact the supplier or customer service if there is any problem occurred when using the device.

Please contact the customer service for the latest procedure and supplementary documentation. 

There may be deviation between the actual value of some data and the value provided in the manual due to the reasons such as the real environment is not stable and so on. Please refer to the company’s final explanation if there is any doubt or dispute. 

The company is not liable for any loss caused by the operation which is not followed by the manual. 
FCC Information 

1. FCC conditions：

This device complies with part 15 of the FCC Rules. Operation is subject to the following two conditions:

· This device may not cause harmful interference;

· This device must accept any interference received, including interference that may cause undesired operation.

2. FCC compliance：

This equipment has been tested and found to comply with the limits for a digital device, pursuant to part 15 of the FCC Rules. These limits are designed to provide reasonable protection against harmful interference. This equipment generates uses and can radiate radio frequency energy and, if not installed and used in accordance with the instruction manual, may cause harmful interference to radio communication. However, there is no guarantee that interference will not occur in a particular installation. If this equipment does cause harmful interference to radio or television reception, which can be determined by turning the equipment off and on, the user is encouraged to try to correct the interference by one or more of the following measures:

· Reorient or relocate the receiving antenna.

· Increase the separation between the equipment and receiver.

· Connect the equipment into an outlet on a circuit different from that to which the receiver is connected.

· Consult the dealer or an experienced radio/TV technician for help.

Note: 
Please refer to the disk for more details, check and download corresponding user’s manual and tool.
Before installation, please open the package and check all the components are included.

Contact your local retailer ASAP if something is broken in your package.

	Accessory Name
	Amount

	Network Camera Unit
	1

	Quick Start Guide
	1

	Installation Accessories Bag
	1

	CD
	1


Table of Contents 

11
Device Structure


11.1
Components


21.2
Framework and Dimension


21.2.1
Framework and Dimension for Metal Dome


31.2.2
Framework and Dimension for Plastic Dome


42
Device Installation


42.1
Installation Steps for Metal Dome


52.2
Installation Steps for Plastic Dome


73
Network Configuration


73.1
Modify IP Address


93.2
Login WEB Interface





1 Device Structure 
1.1 Components
Note:

The following structure figures are just for reference, which are used to know each structure component and the functions of cable ports. 

There are differences about structure components and cables for different product models, please refer to the actual object for more details.

You can refer to the following figure for component structure. See Figure 1‑1.

[image: image1.png]o e O



[image: image2.png]



Figure 1‑1 Component structure
Please refer to the sheet1-1 for detailed information about components.
	Component
	Component Name

	Component 1
	Device lens

	Component 2
	Dome body 

	Component 3 
	Dome enclosure 


Sheet 1-1

Please refer to the Sheet 1-2 for detailed information about cable ports. 

	SN
	Port
	Port Name 
	Connector 
	Function Description

	4
	LAN
	Internet access port 
	Ethernet port 
	Connect to standard Ethernet cable

Note: 

Some devices do not support PoE power supply. 

	5
	DC12V
	12V direct current
	-
	Connect to DC 12V power, input power.


 Sheet 1-2 
1.2 Framework and Dimension

1.2.1 Framework and Dimension for Metal Dome 
Please refer to the Figure1-2 and Figure 1-3 for dimension information. The unit is mm.
[image: image3.png]80





Figure 1‑2
[image: image4.png]



Figure 1-3 

1.2.2 Framework and Dimension for Plastic Dome 

Please refer to the Figure1-4 and Figure1-5 for dimension information. The unit is mm.

[image: image5.png]84





Figure 1-4 

[image: image6.png]



Figure 1-5 
2 Device Installation 
Important

Before the installation, please make sure the installation environments can at least support 3x weight of the camera. 
2.1 Installation Steps for Metal Dome 
[image: image7.jpg]— Ceiling or Wall

~ Installation Pedestal

Expansion Bolt

—l
ST3X18 Self-tapping Screw ‘é ~— Compression Cover
f ]

—Decoration Ring

Dome Body





Figure 2-1 
Step 1
Turn the decoration ring clockwise out of the button placement and take it out. 
Step 2
Take out the installation position map from the accessories bag, and stick it on the ceiling or wall and other installation surface according to the monitoring area. Dig holes on the ceiling or other installation surface according to the hole location of four expansion bolts signed on the position map and then insert four plastic expansion bolts into the holes, secure them firmly. Clients have to pull the cable through the trunking when installing the device. 
Step 3

Adjust the device installation pedestal to the proper position and line up the four screw holes in the device pedestal to the four plastic expansion bolt holes, and then put the four self-tapping screws into the four plastic expansion bolts and fix them firmly. Unscrew the decoration ring to adjust monitoring area, adjust the dome lens and aim the location. Fix the decoration ring firmly after adjusting the location. 
2.2 Installation Steps for Plastic Dome 

[image: image8.jpg]— Ceiling or Wall

——— Expansion Bolt

———— Pedestal

Installation Screw

~——— Enclosure

— Decoration Ring

—— Dome Body




Figure 2-2 

Step1

Turn the decoration ring clockwise out of the button placement and take it out. 

Step 2
Take out the installation position map from the accessories bag, and stick it on the ceiling or wall and other installation surface according to the monitoring area. Dig holes on the ceiling or other installation surface according to the hole location of three expansion bolts signed on the position map and then insert three plastic expansion bolts into the holes, secure them firmly. Clients have to pull the cable through the trunking when installing the device. 
Step 3

Adjust the device installation pedestal to the proper position and line up the three screw holes in the device pedestal to the three plastic expansion bolt holes, and then put the three self-tapping screws into the three plastic expansion bolts and fix them firmly. Make the enclosure buckle stuck into the pedestal, then adjust the camera to a proper monitoring position via rotating the enclosure and dome. 
Step 4 

Aim the three spigots at the gap and rotate the decoration ring bottom up clockwise into the pedestal shown in the Figure above, when you hear a “Ca” sound, it is rotated in place. 
Waterproof connector installation for network port; see Figure 2-3 for more details.
[image: image9.jpg]RubberRing ~ Waterproof

Conne(to/r/
‘ 4

Crystal Head

Network Port —

Fixing Rubber Ring

Waterproof Locking
Fixing Cover




Figure 2-3

1. Keep the convex groove outward and install the rubber ring into the network port, keep the smaller hole of the rubber ring outward and install the fixing rubber ring into the main body of the waterproof connector. 
2. Pull the network cable without crystal head through main body of waterproof connector, fixing rubber ring and waterproof locking cover, make the crystal head of network cable, and then insert it into the network cable. 
3. Put the main body of waterproof connector on the network port and rotate it clockwise to lock the network port and waterproof connector firmly. 
4. Put the waterproof locking cover on the main body of waterproof connector and rotate it clockwise to lock the waterproof connector and waterproof locking cover firmly. 
3 Network Configuration 

The IP address of all the cameras is the same when leaving factory (default IP192.168.1.108), in order to make the camera get access to the network smoothly, please plan the useable IP segment reasonably according to the actual network environment. 
3.1 Modify IP Address 

IP address can be acquired and modified through quick configuration tool for the cameras which are accessed via wired network, it needs to connect wired network to configure wireless parameters before using wireless network cameras. In this chapter, it will introduce the approach of modifying IP address via “Quick Configuration Tool”; also you can modify the IP address in the network parameters of the WEB interface, please refer to the document in the disk << WEB Operation Manual>> for more details. 

Note: 

Currently the quick configuration tool only supports the cameras which apply to the same network segment with computer IP address. 

Step 1 Double click the “ConfigTools.exe” and open the quick configuration tool.

Step 2 Double click the device to be configured, the system will pop out the “Login” dialog box. Enter the IP address, user name, password and port number of the camera, and click “Confirm”.

Note: 

The default user name and password are admin and admin respectively, the default of port is

37777.  See Figure 3-1 for more details. 

[image: image10.jpg]'
X

QConf'gtool

(Qpetiesn)  (Gogin ) ( semng ) (Upsrade ) Find numberof devices: 34 | e | % Q

Subnet Mask

Gateway.

AE 1m26 s |mssasso0  |mason wossana | # @

s 722025 a0 |msass00  |mmsor  |soozesaronsa | 3 ©
s [@rone  Jieaseny w AT
e 2228 asiceen | 3 ©
s @ 1722025, adoress | 1722023 )
s 1722927 e basrcrias we
@ 224 e LU rasavaras | 3% ©
I 1722024 I E—— pasareszs | 45 ©
0 (@ 122925 e hsssavers | % ©
1 |@ e 1722023 ok ) (cancer ) b2:a9:05:40:38 *e
2 (@ 222 Sasaoa | 4 @
5 (@ 223 i |msassoo  |masor  |ovazaeserssa ne
P 1267 s |msasse0  |mmsen  |woasezmm | 4 ©
5 (@ m2280 s |msasso0 |mamor  |sozesmoer2 | 3% @
e mm28 s |msasso0  |mam01  |wozessazess | B ©
v (@ 292102 s |assasoo  |masos  |soassavere | %6 @





Figure 3‑1
Step 3 Modify the camera IP address on the “Net” interface, click “Save” to finish modification. 

See Figure 3-2 for more details. 

[image: image11.png]1P Version

1P Address

153

HrTP

upp.

17220234

1722001

2002:29:42:08:61

st

s77E

(1025 ~65532)





Figure 3‑2
3.2 Login WEB Interface 

Note: 

Different devices may have different WEB interfaces, the figures below are just for reference, please refer to the document <<WEB Operation Manual>> in the disk and the actual interface for more details

Step 1 Open IE and input the modified camera IP address in the address bar. 

Step 2 The login interface is shown below, please input your user name and password (Default user name is admin and password is admin respectively), click “login”.

See Figure 3-3 for more details. 

[image: image12.png]m

Usemame: | admin

Password:





Figure 3-3 

Step 3 Install controls according to the system prompt; see Figure 3-4 for the WEB main interface. Please modify the administrator password as soon as possible after you successfully logged in. 
[image: image13.jpg]@Jhua





Figure 3-4 
Note
· This user’s manual is for reference only. Slight difference may be found in user interface.

· All the designs and software here are subject to change without prior written notice.
· All trademarks and registered trademarks mentioned are the properties of their respective 
owners.
· If there is any uncertainty or controversy, please refer to the final explanation of us.
· Please visit our website for more information.
[image: image16.jpg]alhua




Dahua Technology Co., Ltd

Address：No.1199 Bin’an Road, Binjiang District, Hangzhou, PRC.

Postcode: 310053

Tel: +86-571-87688883

Fax: +86-571-87688815

Email:overseas@dahuatech.com

Website: www.dahuasecurity.com
PAGE  
iv

